I

Cooling system KS 92.0100-PV

Descript'ion

The closed cooling system KS 92.0100-PV is made for cooling of HF-gencrators and similar equipment where a clean cooling water and controlled temperature is required.

Technical data: The unit is built on a welded construction and consists of.

Pump type BNMD 20/14OAE, with a capacity of 80 I/min. at 32 Mvp, motor 0,56 kW.

Tank of stainless steel containing 30 litres.

Heat exchanger, type B 25X30 Swcp Reheat with cooling plates of stainless steel.

Thermostat, type AVTA 20, adjustable between 25-65 degrees C.

All components having contact wilh water are made of non-rusting material such as copper, brass and stainless steel.

Weight:	app. 50 kg.

1. Tank

2. Pump

3.	Thermostat

4.	Motor protector

5.	Heat exchanger